## 1. Instructions
2023 WORKING GROUP ON CONTINGENT-OWNED EQUIPMENT
TRIENNIEL REVIEW OF REIMBURSEMENT RATES
NATIONAL COST DATA
ANNEX C – MEDICAL
Guidelines for submission of cost data
In its resolution 59/298, the General Assembly endorsed the observation of Advisory Committee on Administrative and Budgetary Questions (ACABQ), in paragraph 13 of its report A/59/708, that “The Working Group recognized that the modular support concept provides flexibility and the ability to build a more efficient, effective and responsive medical facility to meet the specific needs of peacekeeping missions” Over the years, the General Assembly revised the rates for medical equipment and self-sustainment and decided that the future reviews should be conducted in the form of a comprehensive review using data provided by troop/police contributors (T/PCCs).
To facilitate the review of reimbursement rates at the 2023 Contingent-Owned Equipment (COE) Working Group, Member States are requested to submit national cost data using 2021 as base year in tabs 2 through 8 of this Annex. To assist the Secretariat in the consolidation of the spreadsheets, it would be appreciated if all national costs could be provided in US dollars.
It should be noted that the pre-deployment medical costs incurred by TCCs are now included as part of the single standard personnel reimbursement rate and should not be reflected in this Annex
Please note this Annex contains the following tabs:
Tab 1: Instructions (current tab)
Tab 2: National Cost Data - Medical
Tab 3: Level I Clinic
Tab 4: Level II Hospital
Tab 5: Level III Hospital
Tab 6: Light Mobile Surgical Module
Tab 7: Miscellaneous
Tab 8: Pharmaceuticals
On the National Cost Data– Medical (tab 2), Member States are requested to provide medical self-sustainment national cost per person per month. The national cost should be based on the average cost over a six-month period. (please make sure to fill in columns b, c, d and e).
The Clinic (Level I) and Hospital (Levels II & III) and Light Mobile Surgical Module worksheets (tabs 3, 4, 5 and 6), specify the equipment requirements as approved by the 2020 COE Working Group. Each facility has been divided into functional components to reflect a medical “capability” and allow for potential modular configuration. There is provision within the worksheets for Member States to indicate multiple functionalities/modules within a facility and to provide costs for similar or substitute items. (please make sure to fill in columns b and c)
A Miscellaneous worksheet (tab 7) is included to allow Member States to provide the cost of any additional capabilities which may be available. (please make sure to fill in columns b and c, as well as national cost data for Gynaecology module, Orthopaedic module, Physiotherapy module , and fee for service schedule)
Under the tab “Pharmaceutical” worksheet (tab 8), a list of basic products is provided. Member States may wish to compile a pharmaceutical list for six months for each medical facility: Levels I, II and III. If Member States have provided additional pharmaceutical items, those could be added by class. The total cost of pharmaceutical products should be used to provide the national cost per person per month in various levels of medical facilities in United Nations peacekeeping missions. (please make sure to fill in columns b and c).
It is requested that Member States do not leave any field blank and indicate either the national cost for the equipment or if the equipment is not available in the national inventory, to mark not available (N/A).
Member States have the option to use the current COE Manual cost data for any unfilled fields. To select this option, use the Decision form attached as an Appendix to this package .
Finally, when filling the templates in the following tabs, Member States should refer to Chapter 3, annex C of the COE Manual on the performance standards for medical support.

## 2. National Cost Data - Medical
2023 Working Group on Contingent-Owned Equipment
National Cost Data for Medical Self-Sustainment
Using 2021 as Base Year
Member State: |  | ENTER MEMBER STATE HERE
(Amount In US Dollars)
SER-IAL | SELF-SUSTAINMENT CATEGORY | COST FOR 6 MONTHS | COST PER MONTH | NO. OF TROOPS | COST PER PERSON PER MONTH | COMMENTS
| (a) | (b) | (c)=(b)/6 | (d) | (e)=(c)/(d) | (f)
Medical - Buddy First Aid
1 | First aid pouch or box x1
2 | Field dressing (small) x5
3 | Field dressing (large) x1
4 | Emergency pressure bandage x1
5 | Triangular bandages x1
6 | Sterile gauze pads x10
7 | **S-Rolled Gauze (4.5 inches x 4.1 yards) x2
8 | Sterile cotton wool (100 g pack) x1
9 | **Chest seal (Halo or Hyfin) (set of 2 per pack)
10 | Adhesive tape (roll) x2
11 | Paramedic shear x1
12 | Pocket mask x1
13 | **2 Talon Nitrile gloves, medium or large x2
14 | **1 Z-fold hemostatic gauze dressing, vacuum sealed x1
15 | **Combat arterial torniquet x1
16 | Emergency hypothermia blanket x1
Total*
Medical - Communal First Aid
1 | First aid pouch or box x1
2 | Field dressing (small) x5
3 | Field dressing (large) x1
4 | Burn dressing x1
5 | Triangular bandages x1
6 | Sterile gauze pads x10
7 | Roller bandage/gauze (roll) x2
8 | Sterile cotton wool (100 g pack) x1
9 | Wound-cleansing solution (bottle) x1
10 | Adhesive tape (roll) x2
11 | Safety scissors (super shear) x1
12 | Pocket mask x1
13 | Gloves, size 7 1/2 and 8 (pairs) x2
14 | Arterial tourniquet x1
Total*
Medical - Level I
1 | Drugs
2 | Consumable Medical Supplies
Total (Note A)
Medical - Level II
1 | Drugs
2 | Consumable Medical Supplies
Total*
Medical - Level III
1 | Drugs
2 | Consumable Medical Supplies
Total*
Medical - Combined Level II/III
1 | Drugs
2 | Consumable Medical Supplies
Total*
Notes:
* Total cost of medical items for self-sustainment for an average 6 month period - Buddy First Aid, Levels I, II and III.
** Minor size and brand variations are allowed as long as the item serves the intended function

## 3. Level I Clinic
2023 Working Group on Contingent-Owned Equipment
National Cost Data for Medical Equipment - Clinic/ Level 1 Medical Facility
Using 2021 as Base Year
Member State: |  | ENTER MEMBER STATE HERE
Facility | COE Manual GFMV (US$) | Item | NATIONAL COST (in US$) |  |  | REMARKS
|  |  | UNIT PRICE | QTY | AMOUNT
| (a) |  | (b) |  | (c)
A. Administration, logistics and communications | 4188 | i. Standby generator (portable)a |  | 1
|  | ii. Furnitureb |  | Adequate
|  | iii. Stationery/Documentationb |  | Adequate
|  | iv. Computer/Printerb (Optional, where possible or feasible) |  | 1
|  | v. Telephoneb (Optional, where possible or feasible) |  | 1 line
|  | vi. Facsimileb (Optional, where possible or feasible) |  | 1 line
|  | vii. VHF/UHF communicationsb |  | Suitable to mission
|  | viii. Storage (boxes, cupboards, etc.)b |  | Adequate
B. Consultation, treatment and emergency | 69257 | i. Examination coucha |  | 1
|  | ii. Desk and chairsb |  | 1 set
|  | iii. Essential diagnostic equipment |  | 2 sets
Stethoscopea
Ophthalmoscopea
Otoscopea
ECG machinea
Reflex malleta
Thermometersa
Sphygmomanometera
Gynaecological speculuma
Proctoscopea
Measuring tapea
Torcha
Examination lampa
Miscellaneousa
|  | iv. X-ray view boxa |  | 1
|  | v. Minor treatment/dressing setsb |  | Adequate quantity consumables
|  | vi. Resuscitation trolley (fully equipped)a |  | 2 sets
|  | vii. Intubation seta |  | 2 sets
|  | viii. Coniotomy seta |  | 2 sets
|  | ix. Defibrillatora |  | 2
|  | x. Oxygen cylindera |  | 2
|  | xi. Suction unita |  | 2
|  | xii. Nebulizera |  | 2
|  | xiii. Perfusion standsa |  | 2
|  | xiv. General purpose setsa |  | 3
|  | xv. Sets for chest tube insertion, catheterization and venous “cut-downs”a |  | 2 set
|  | xvi. Infusion pumpa |  | 2
|  | xvii. Pulse oxymetera |  | 1
|  | xviii. Pulse oxymeter (portable)a |  | 1
C. Pharmacy | 875 | Refrigerator for drugsa |  | 1
|  | Analgesicsb |  | Adequate and essential in variety to support battalion for 50 days
Antipyreticsb
Antibioticsb
Drugs for common respiratory conditionsb
Drugs for common gastrointestinal conditionsb
Drugs for common musculoskeletal conditionsb
Drugs for common cardiovascular conditionsb
Drugs for other common illnessesb
Resuscitation drugs and equipment (including narcotics)b
D. Sterilization | 4188 | Field autoclave sterilizera |  | 1
E. Inpatient care | 4555 | i. Collapsible bedsa |  | 5
|  | ii. Crutchesa |  | 2 pairs
|  | iii. Trolley for drugsa |  | 1
|  | iv. Utensils for feeding patientsa |  | 5 sets
F. Transportation. Two fully equipped ambulances will be reimbursed as major equipment in annex B to MOU |  | Fully equipped ambulancea |  | 2 fully equipped ambulances
Doctor’s baga
Oxygen cylindersa
Suction pumpa
Resuscitation drugsa
Helicopter landing site marking equipment (smoke grenades, luminous sticks/sheets, etc.)a
Emergency lightinga
Communication equipment (VHF/UHF)a
Pulse oximetera
Portable defibrillatora
Vehicle maintenance equipmenta
G. Miscellaneous | 6277 | i. Doctor’s bagsa |  | 2 sets
|  | ii. Paramedic/nurse’s bagsa |  | 3 sets
Total | 89341
Note:
a. Reimbursed under major equipment
b. Reimbursed under self-sustainment

## 4. Level II Hospital
2023 Working Group on Contingent-Owned Equipment
National Cost Data for Medical Equipment - Hospital Facility/Level II
Using 2021 as Base Year
| Member State: |  | ENTER MEMBER STATE HERE
| FACILITY | COE Manual GFMV (US$) | ITEM | NATIONAL COST (in US$) |  |  | REMARKS
|  |  |  | UNIT PRICE | QTY | AMOUNT
|  | (a) |  | (b) |  | (c)
| I A. Outpatient services |  | i. Furnitureb |  | Adequate
|  |  | ii. Stationery/documentationb |  | Adequate
|  |  | iii. Computer/printerb |  | 1
|  |  | iv. Telephoneb |  | 2 lines
|  |  | v. Facsimileb |  | 1 to 2 lines
| B. Consultation rooms (2), $12,239 per room | 24478 | i. Examination coucha |  | 1 per room
|  |  | ii Desk and chairsb |  | 1 set per room
|  |  | iii. Essential diagnostic equipmenta |  | 1 set per room
Stethoscopea
Ophthalmoscopea
Otoscopea
ECG machinea
Reflex malleta
Thermometersa
Sphygmomanometera
Gynaecological speculuma
Proctoscopea
Measuring tapea
Torcha
Examination lampa
Miscellaneousa
iv. Documentation and stationeryb
| C. Pharmacy | 4159 | i. Refrigerator for drugsa |  | 1
|  |  | ii. Refrigerator for blood/blood productsa |  | 1
|  |  | Analgesicsb |  | Adequate quantity and essential variety to support 40 outpatients per day for a period of 60 days. The list of drugs is listed in the UN Medical Support Manual for United Nations Peacekeeping Operations
Antipyreticsb
Antibioticsb
Drugs for common respiratory conditionsb
Drugs for common gastrointestinal conditionsb
Drugs for common musculoskeletal conditionsb
Drugs for common cardiovascular conditionsb
Drugs for other common illnessesb
Resuscitation drugs (including narcotics)b
| D. Radiography room | 184257 | i. Digital X-ray machine, including X-ray table and printera |  | 1
|  |  | ii. X-ray view boxa |  | 2
|  |  | iii. Protective equipment for staff and patientsac |  | 2 sets
|  |  | iv Ultrasound machinea |  | 1
|  |  | v. Mobile digital X-ray mahinea |  | 1
| E. Laboratory | 31101 | i Digital haematology analysera |  | 1
|  |  | ii Digital biochemistry analysera |  | 1
|  |  | iii. Kits for HIV tests and other relevant testsb |  | 5 kits each
|  |  | iv. Microscopea |  | 2
|  |  | v. Centrifugea |  | 1
vi. Urinalysis kitb
|  |  | vii. Incubatora |  | 1
viii. Supplies (tubes, reagents, etc.)b
|  |  | ix. Glucometera |  | 1
|  |  | x. Refrigeratora |  | 1
xi. Freezera
|  |  | xii. Cardiac troponina |  | 1 set (10 tests)
| II. Dental services consultation, treatment and X-Ray | 161564 | i. Dental chair, electricala |  | 1
|  |  | ii. Equipment for treatmenta |  | Adequate for 5 to 10 patients per day
Extractiona
Fillinga
Other basic treatmenta
|  |  | iii. Drilling unita |  | 1
|  |  | iv. Ditigal X-ray equipmenta |  | 1 set
|  |  | v. Protective equipmentac |  | 2 sets
|  |  | vi. Dental sterilizera |  | 1
|  |  | vii. Furnitureb |  | Adequate
| III. A. Surgery/anaesthesia emergency resuscitation/anaesthesia/recovery | 97049 | i. Desk and chairsb |  | 2 to 3 sets
|  |  | ii. Examination coucha |  | 2
|  |  | iii. Essential diagnostic equipmenta |  | 2 sets
Stethoscopea
Ophthalmoscopea
Otoscopea
ECG machinea
Reflex malleta
Thermometersa
Sphyamomanometera
Gynaecological speculuma
Proctoscopea
Measuring tapea
Torcha
Examination lampa
Miscellaneousa
iv. X-ray viewera
|  |  | v. Minor treatment/dressing setb |  | Adequate
|  |  | vi. Resuscitation trolley (Fully equipped)a |  | 2
|  |  | vii. Intubation setsa |  | 2
|  |  | viii. Coniocotomy seta |  | 2
|  |  | ix. ECG machinea |  | 1
|  |  | x. Defibrillatora |  | 1
|  |  | xi. Portable ventilator/oxygen cylindera |  | 1
|  |  | xii. Pulse oximetera |  | 1
|  |  | xiii. Suction unita |  | 1
|  |  | xiv. Nebulizera |  | 1
|  |  | xv. Backboards/vacuum mattressesa |  | 2
|  |  | xvi. Excision/suture setsa |  | 3
|  |  | xvii. Perfusion standsa |  | 3
|  |  | xviii. Sets for chest tube insertion, catheterization and venesectiona |  | 2 sets each
|  |  | xix. Anaesthetic gas supply systema |  | To support 3-4 operations/day
xx. Drugs and consumables required for induction of anaesthesia (including local and regional anaesthesia) and post-operation recoveryb
| B. Operating theatres | 149849 | i. Operating tablesa |  | 1
|  |  | ii. Operating theatre lampsa |  | 2
|  |  | iii. Anaesthesia machinea |  | 1
|  |  | iv. Oxygen and anaesthetic gasesb |  | Essential
|  |  | v. Diathermy machinea |  | 1
|  |  | vi. Suction unit for body fluidsa |  | 1
|  |  | vii. Laparotomy setsa |  | Quantity to support 3-4 operations per day
viii. Thoracotomy setsa
ix. Craniotomy setsa
x. Wound exploration setsa
xi. Amputation setsa
xii. Fracture fixation sets and fixation equipmenta
xiii. Appendicectomy and general purpose setsa
|  |  | xiv. Disinfection equipmenta |  | Adequate
|  |  | xv. Resuscitation/monitoring equipment trolley with drugsa |  | 1
Defibrillatora
Ventilatora
Intubation setsa
Infusion pumpa
Suction pumpa
Pulse oximetera
|  |  | xvi Oxygen cylindersa |  | 2
|  |  | xvii. Patient transport/transfer trolleya |  | 2
|  |  | xviii. Surgical consumablesb |  | To support 3-4 operations/day
| C. Sterilization room | 58889 | i. Autoclave sterilizera |  | 1
|  |  | ii. Boilera |  | 1
|  |  | iii. Disinfection equipmenta |  | 1 set
|  |  | iv. Fire extinguisherb |  | 1
|  |  | v. Furniture and suppliesb |  | Adequate
|  |  | vi. Machine for cleansing surgical instrumentsa |  | 1 or 2
| IV. Wards | 49037 | i. Collapsible multipurpose hospital bedsa |  | 20 beds
| A. General multidiscipline wards |  | ii. Orthopaedic traction equipmenta |  | 2 sets/ward
|  |  | iii. Mini dispensary (trolley)a |  | 1 per ward
|  |  | iv. Essential medical supplies and equipment for inpatient careb |  | Adequate quantity based on number of beds (20)
v. Furniture, office supplies, etc.b
|  |  | vi. Crutchesa |  | 4 sets
|  |  | vii. Wheelchairsa |  | 2
|  |  | viii. Cloth patientsa |  | 1
| B. Intensive care ward | 50983 | i. Intensive care hospital bedsa |  | 2 beds
|  |  | ii Blood gas analysera |  | 1
|  |  | ii. Resuscitation/monitoring equipmenta |  | 1 set
Trolley with drugsa
Defibrillatora
Ventilatora
Intubation setsa
Infusion pumpa
Suction pumpa
Multiline vital signs monitora
Oxygen cylindersa
| V. Support services | 26270 | i. Cooking equipmenta |  | To cater to 20 inpatients
| A. Catering |  | Stovesa
Ovensa
Boilersa
Cooking pots, pans, utensils, etc.a
ii. Serving equipmenta
|  |  | iii. Cooking equipmentb |  | To cater to hospital staff
Stovesb
Ovensb
Boilersb
Cooking pots, pans, utensils, etc.b
|  |  | iv. Dishwashersa |  | 1
|  |  | v. Cleaning equipmenta |  | 1 set
|  |  | vi. First aid kitb |  | 1 kit
|  |  | vii. Fire extinguisherb |  | 2
| B. Laundry for hospital use | 4925 | i. Washing machinesa |  | 2 machines
|  |  | ii. Clothes dryera |  | 1 machine
|  |  | iii. Detergents and suppliesb |  | Adequate
| C. Storage/supplies room | 18170 | i. Storage shelvesa |  | Adequate quantity
ii. Storage cupboards/cabinetsa
iii. Refrigeratora
| D. Maintenance | 5473 | i. Equipment and tools for maintenance of equipment and infrastructurea |  | 1 set
|  |  | ii. First-aid kitb |  | 1 kit
| E. Communications room |  | i. Telephoneb |  | 2
|  |  | ii. Internal telephone systemb |  | 1
|  |  | iii. Facsimile machineb |  | 1
|  |  | iv. Computer with e-mailb |  | 1
|  |  | v. Furniture and stationeryb |  | Adequate quantity
|  |  | vi. VHF/UHF radio for communication with forward medical teamsb |  | 1
| F. Transportation: two fully equipped ambulances. Will be reimbursed as major equipment in annex B to the MOU |  | i. Fully equipped ambulancesa |  | 2 fully equipped ambulances
Doctor’s baga
Oxygen cylindersa
Suction pumpa
Resuscitation drugsa
Helicopter landing site marking equipment (Smoke grenades, luminous sticks/sheets, etc.)a
Emergency lightinga
Communication equipment (VHF/UHF)a
Vehicle maintenance equipmenta
Pulse oximetera
Portable defibrillatora
|  |  | ii. First-aid kitb |  | 1 kit
|  |  | iii. Furniture and stationeryb |  | Adequate
| G. Generator room: two sets of standby generators will be reimbursed as major equipment in annex B to the MOU |  | i. Standby generators (>20 KVA)a |  | 2
Maintenance equipmenta
First-aid kitb
Fire extinguisherb
| H. Fuel storage |  | i. Fuel for generatorsb |  | 1 week’s supply
|  |  | ii. Fire extinguishersb |  | 2
| I. Staff room |  | i. Lounge furnitureb |  | 1 set
|  |  | ii. Other furnitureb |  | Adequate
|  |  | iii. Coffee maker/other beverage appliancesb |  | 1
| J. Water, sanitation and waste disposal. Will be reimbursed as major equipment in annex B to MOU |  | i. Toilet facilities and sanitation systema |  | Adequate for 20 inpatients and 50 outpatients
|  |  | ii. Toilet facilities and sanitation systema |  | Adequate for staff
|  |  | iii. Shower facilities and systema |  | For inpatients
|  |  | iv. Water supply for hospital facilities, reverse osmosisa |  | Adequate
|  |  | v. Refuse disposal facilities and systema |  | Adequate
| K. Miscellaneous | 43790 | i. Medical waste collection, including waste bags, containers and carts; posters, personal protective equipment, cleaning materials and handwashing facilities and systems for staff d |  | Adequate
|  |  | ii. Medical waste treatment/disposal system technology,d including incinerators/pyrolytic ovens, autoclaves, hybrid autoclave systems, frictional heat treatment systems or equivalent d |  | Adequate
| Total | 909994
Note:
a. Reimbursed under major equipment
b. Reimbursed under self-sustainment
c. International Atomic Energy Agency Safety Standards Series No. SSG-46 (Radiation protection and safety in medical uses of ionizing radiation) are to be applied.
d. United Nations Environment Programme Compendium of Technologies for Treatment/Destruction of Health-Care Waste.

## 5. Level III Hospital
2023 Working Group on Contingent-Owned Equipment
National Cost Data for Medical Equipment - Hospital Facility/Level III
Using 2021 as Base Year
| Member State: |  | ENTER MEMBER STATE HERE
| FACILITY | COE Manual GFMV (US$) | ITEM | NATIONAL COST (in US$) |  |  | REMARKS
|  |  |  | UNIT PRICE | QTY | AMOUNT
|  | (a) |  | (b) |  | ( c)
| I.A. Outpatient services |  | i. Furnitureb |  | Adequate
|  |  | ii. Stationery/documentationb |  | Adequate
|  |  | iii. Computer/printerb |  | 1
|  |  | iv. Telephoneb |  | 2 lines
|  |  | v. Facsimileb |  | 1 to 2 lines
| B. Consultation rooms (4) | 48 956 | i. Desk and chairsb |  | 1 set per room
|  |  | ii. Examination coucha |  | 1 per room
|  |  | iii. Essential diagnostic equipmenta |  | 1 set per room
Stethoscopea
Ophthalmoscopea
Otoscopea
ECG machinea
Reflex malleta
Thermometersa
Sphygmomanometera
Gynaecological speculuma
Proctoscopea
Measuring tapea
Torcha
Examination lampa
Miscellaneousa
|  |  | iv. Documentation and stationeryb |  | Adequate
| C. Pharmacy | 8318 | i. Refrigerator for drugsa |  | 2
|  |  | ii. Refrigerator for blood/blood productsa |  | 2
|  |  | Analgesicsb |  | Adequate quantity and essential variety to support 50-60 outpatients per day for a period of 60 days. The list of drugs is listed in the UN Medical Support Manual.
Antipyreticsb
Antibioticsb
Drugs for common respiratory conditionsb
Drugs for common gastrointestinal conditionsb
Drugs for common musculoskeletal conditionsb
Drugs for common cardiovascular conditionsb
Drugs for other common illnessesb
Resuscitation drugs (including narcotics)b
| D. Radiography room | 183162 | i. Digital X-ray machine, including X-ray table and printera |  | 1
|  |  | ii. X-ray view boxa |  | 1
|  |  | iii. Protective equipment for staff and patientsac |  | 2 sets
|  |  | iv Ultrasound machinea |  | 1
|  |  | v. Mobile digital X-ray mahinea |  | 1
| E. Laboratory | 59795 | i Digital haematology analysera |  | 2
|  |  | ii Digital biochemistry analysera |  | 2
|  |  | iii. Kits for HIV and other relevant testsb |  | 5 kits each
|  |  | iv. Microscopea |  | 3
|  |  | v. Centrifugea |  | 2
|  |  | vi. Urinalysis kitb |  | Adequate
|  |  | vii. Incubatora |  | 1
|  |  | viii. Lab suppliesb |  | Adequate
|  |  | ix. Glucometera |  | 2
|  |  | x. Blood gas analysera |  | 1
|  |  | xi. Bacterial culture materialb |  | Adequate
|  |  | xii. Refrigeratora |  | 1
|  |  | xiii. Freezera |  | 1
|  |  | xii. Cardiac troponina |  | 1 set (10 tests)
| II. Dental services | 262924 | i. Dental chair, electricala |  | 2
|  |  | ii. Equipment for treatmenta |  | Adequate for 10 patients/day
Extractiona
Fillinga
Other basic treatmenta
|  |  | iii. Drilling unita |  | 2
|  |  | iv. Furnitureb |  | Adequate
|  |  | v. Ditigal X-ray equipmenta |  | 1 set
|  |  | vi. Protective equipmentac |  | 4 sets
|  |  | vii. Dental sterilizera |  | 1
| III.A. Surgery/ anaesthesia, emergency room and recovery | 156683 | i. Desk and chairsb |  | 2 to 3 sets
|  |  | ii. Examination coucha |  | 3
|  |  | iii. Essential diagnostic equipmenta |  | 3 sets
Stethoscopea
Ophthalmoscopea
Otoscopea
ECG machinea
Reflex malleta
Thermometersa
Sphyamomanometera
Gynaecological speculuma
Proctoscopea
Measuring tapea
Torcha
Examination lampa
Miscellaneousa
|  |  | iv. X-ray viewersa |  | 3
|  |  | v. Minor treatment/dressing setb |  | Adequate
|  |  | vi. Resuscitation trolley (fully equipped)a |  | 2
|  |  | vii. Intubation sets |  | 4 sets
|  |  | viii. Coniocotomy seta |  | 4 sets
|  |  | ix. ECG machinea |  | 2
|  |  | x. Defibrillatora |  | 2
|  |  | xi. Portable ventilator/oxygen cylindera |  | 2
|  |  | xii. Pulse oximetera |  | 2
|  |  | xiii. Suction unita |  | 2
|  |  | xiv. Nebulizera |  | 2
|  |  | xv. Backboards/vacuum mattressa |  | 4
|  |  | xvi. Excision/suture setsa |  | 6 sets
|  |  | xvii. Prefusion standsa |  | 4-6 sets
|  |  | xviii. Sets for chest tube insertion,a |  | 4 sets each
catheterization and venesectiona
|  |  | xix. Anaesthetic gas supply systema |  | To support up to 10 operations/ day
xx. Drugs and consumables for induction of anaesthesia (including local and regional anaesthesia) and post-operation recoverya
| B. Operating theatres (2) | 348209 | i. Operating tablesa |  | 1 per operating theatre
|  |  | ii. Operating theatre lampsa |  | 2 per operating theatre
|  |  | iii. Anaesthesia machine |  | 1 per operating theatre
|  |  | iv. Oxygen and anaesthetic gasesb |  | Essential
|  |  | v. Diathermy machinea |  | 1 per operating theatre
|  |  | vi. Suction unit for body fluidsa |  | 1 per operating theatre
|  |  | vii. Laparotomy setsa |  | Sufficient quantity to support up to 10 operations per day
viii. Thoracotomy setsa
ix. Craniotomy setsa
x. Wound exploration setsa
xi. Sets for amputationsa
xii. Fracture fixation sets and fixation equipmenta
xiii. Appendicectomy and general purpose setsa
|  |  | xiv. Disinfection equipmenta |  | Adequate
|  |  | xv. Resuscitation/monitoring, equipment |  | 1 set per operating theatre
Trolley with drugsa
Defibrillatora
Ventilatora
Intubation setsa
Infusion pumpa
Suction pumpa
Pulse oximetera
|  |  | Oxygen cylindersa |  | 2 per operating theatre
|  |  | xvi. Patient transport and transfer trolleya |  | 2 per operating theatre
|  |  | xvii. Surgical consumablesb |  | To support up to 10 operations/ day
|  |  | xviii. Mobile C-arm fluoroscopea |  | 1 shared between both operating theatres
|  |  | xix. X-ray view boxa |  | 2 shared between both operating theatres
| C. Sterilization room | 114713 | i. Autoclave sterilizera |  | 2
|  |  | ii. Boilera |  | 2
|  |  | iii. Disinfection equipmenta |  | 2 sets
|  |  | iv. Furniture and suppliesb |  | Adequate
|  |  | v. Machine for cleansing surgical instrumentsa |  | 1 or 2
| IV.A. Wards | 109021 | i. Collapsible multipurpose hospital bedsa |  | 50 beds (25 per ward)
|  |  | ii. Orthopaedic traction equipmenta |  | 4 seats per ward
|  |  | iii. Mini dispensary (trolley)a |  | 1 per ward
|  |  | iv. Essential medical supplies and equipment for inpatient careb |  | Adequate for number of beds
|  |  | v. Furniture, office supplies, etc.b |  | Adequate
|  |  | vi. Crutchesa |  | 8 sets
|  |  | vii. Wheel chairsa |  | 4
|  |  | viii. Cloth patientsa |  | 2
| B. Intensive care wards | 91373 | i. Intensive care hospital bedsa |  | 4 beds
|  |  | ii Blood gas analysera |  | 1
|  |  | ii. Resuscitation/monitoring equipmenta |  | 2 sets
Trolley with drugsa
Defibrillatora
Ventilatora
Intubation setsa
Infusion pumpa
Suction pumpa
Multiline vital signs monitora
Oxygen cylindersa
| V.A. Support services | 64032 | i. Cooking equipmenta |  | To cater to 50 inpatients
Stovesa
Ovensa
Boilersa
Cooking pots, pans, utensils, etc.a
ii. Serving equipmenta
|  |  | iii. Cooking equipmentb |  | To cater to hospital staff
Stovesb
Ovensb
Boilersb
Cooking pots, pans, utensils, etc.b
|  |  | iv. Dishwashersa |  | 2
|  |  | v. Cleaning equipmenta |  | 2 sets
|  |  | vi. First aid kitb |  | 1
|  |  | viii. Fire extinguisherb |  | 2
| B. Laundry for hospital use | 8209 | i. Washing machinesa |  | 3 machines
|  |  | ii. Clothes dryera |  | 2 machines
|  |  | iii. Detergents and suppliesb |  | Adequate
| C. Storage/supplies room | 27256 | i. Storage shelvesa |  | Adequate
|  |  | ii. Storage cupboards/cabinetsa |  | Adequate
|  |  | iii. Refrigeratora |  | 2 or 3
| D. Maintenance | 10945 | i. Equipment and tools for routine maintenance of equipment and infrastructurea |  | 2 sets
|  |  | ii. First-aid kitb |  | 1 kit
| E. Communications room |  | i. Telephoneb |  | 2
|  |  | ii. Internal telephone systemb |  | 1
|  |  | iii. Facsimile machineb |  | 1
|  |  | iv. Computer with e-mailb |  | 1
|  |  | v. Furniture and stationeryb |  | Adequate
|  |  | vi. VHF/UHF with link to commanding officer and forward medical teamsb |  | 1
| F. Transportation Two fully equipped ambulances will be reimbursed as major equipment in annex B to the MOU |  | i. Fully equipped ambulancesa |  | 2 fully equipped ambulances
Doctors baga
Oxygen cylindersa
Suction pumpa
Resuscitation drugsa
Helicopter landing site marking equipment (smoke grenades, luminous sticks, sheets, etc.)a
Emergency lightinga
UHF/VHF communications equipmenta
Vehicle maintenance equipmenta
Pulse oximetera
Portable defibrillatora
|  |  | iii. First-aid kitb |  | 1 kit
|  |  | iv. Furniture and stationeryb |  | Adequate
| G. Generator room Three sets of standby generators will be reimbursed as major equipment in annex B to the MOU |  | i. Standby generator (>20 kVA)a |  | 3
|  |  | ii. Maintenance equipmenta |  | 1 set
|  |  | iii. First-aid kitb |  | 1 set
|  |  | iv. Fire extinguisherb |  | 1
| H. Fuel storage |  | i. Fuel for generatorsb |  | 1 week’s supply
|  |  | ii. Fire extinguishersb |  | 2
| I. Staff room |  | i. Lounge furnitureb |  | 1 set
|  |  | ii. Other furnitureb |  | Adequate
|  |  | iii. Coffee maker/other beverage appliancesb |  | 1
| J. Water, sanitation and waste disposal will be reimbursed as major equipment in annex B to the MOU |  | i. Toilet facilities and sanitation systema |  | For 50 inpatients + 50 outpatients
|  |  | ii. Toilet facilities and sanitation systema |  | Adequate for staff
|  |  | iii. Shower facilities and systema |  | For inpatients
|  |  | iv. Refuse disposal facilities and systema |  | Adequate
|  |  | v. Water supply for hospital facilities, reverse osmosisa |  | Adequate
| K. Miscellaneous | 43790 | i. Medical waste collection, including waste bags, containers and carts; posters, personal protective equipment, cleaning materials and handwashing facilities and systems for staff d |  | Adequate
|  |  | ii. Medical waste treatment/disposal system technology,d including incinerators/pyrolytic ovens, autoclaves, hybrid autoclave systems, frictional heat treatment systems or equivalentd |  | Adequate
| Total | 1537387
Note:
a. Reimbursed under major equipment
b. Reimbursed under self-sustainment
c. International Atomic Energy Agency Safety Standards Series No. SSG-46 (Radiation protection and safety in medical uses of ionizing radiation) are to be applied.
d. United Nations Environment Programme Compendium of Technologies for Treatment/Destruction of Health-Care Waste.
Note on F14: Kathy Qi: quantity missing on COE Manual. Need MSS to confirm

## 6. Light Mobile Surgical Module
2023 Working Group on Contingent-Owned Equipment
National Cost Data for Medical Equipment - Light Mobile Surgical Module
Using 2021 as Base Year
Member State: |  | ENTER MEMBER STATE HERE
Facility | COE Manual GFMV (US$) | Item | NATIONAL COST (in US$) |  |  | REMARKS
|  |  | UNIT PRICE | QTY | AMOUNT
| (a) |  | (b) |  | (c)
A. Rescuscitation area | 210 448 | i. Stethoscopea |  | 2
|  | ii. Reflex malleta |  | 1
|  | iii. Thermometer, tympanic, battery powereda |  | 1
|  | iv. Combined ophthalmoscope and otoscopea |  | 1
|  | v. Patient monitor – combined function: electrocardiogram, pulse, respiratory rate; pulse oximeter; blood pressure; defibrillator; capnographya |  | 2
|  | vi. Laryngoscope with selection of adult and paediatric bladesa |  | 2
|  | vii. Bag valve mask with PEEP valve for hospital usea |  | 2
|  | viii. Transport ventilator, lightweight, with wave form display for field use with extended battery life (< 8 hours)a |  | 2
|  | ix. Oxygen cylinder (680 litre at 2,200 psi) with regulator a |  | 2
|  | x. Suction unit, lightweight with rechargeable battery a |  | 2
|  | xi. Intraosseous drilla |  | 1
|  | xii. Dual channel infusion pumpa |  | 2
|  | xiii. Stretcher, collapsible with adjustable intravenous infusion pole a |  | 12
|  | xiv. Wheeled stretcher/litter carriera |  | 2
|  | xv. Intravenous fluid pressure cuff – 500 mla |  | 2
|  | xvi. Intravenous fluid pressure cuff – 1000 mla |  | 2
|  | xvii. Intravenous fluid warmer (disposable type)a |  | 2
|  | xviii. Portable sonography machine (laptop type)a |  | 1
|  | xix. Mobile digital X-ray machine for field use with digital X-ray viewer platea |  | 1
|  | xx. X-ray lead apron a, b |  | 4
|  | xxi. Junctional tourniquet a |  | 1
|  | xxii. Femoral traction splint a |  | 4
|  | xxiii. Portable refrigerator, 30 litre, mains and rechargeable battery powered with extended battery life (< 8 hours) a |  | 2
|  | xxiv. Multifunctional handheld blood analyser: biochemistry, haematology a |  | 1
|  | xxv. Resuscitation box, lightweight for field usea |  | 2
|  | xxvi. Cut down set a |  | 2
|  | xxvii. Head torch, battery operated; 1,000 lumens a |  | 6
|  | xxviii. Suture sets – disposable c |  | 10
|  | xxix. Coniotomy set – disposable c |  | 5
|  | xxx. Chest drain set – disposable c |  | 10
|  | xxxi. Endotracheal tubes and laryngeal masks: selection of adult and paediatric sizes – disposable c |  | Up to 28 intubations in 7 days
|  | xxxii. Drugs for resuscitation (including narcotics) and analgesia c |  | 7 days' supply, up to 28 pre-operation/resuscitation cases
xxxiii. Drugs for basic primary health care c
xxxiv. Consumables for intravenous infusers, syringe pumps, intraosseous devices, blood warmers etc. c
B. Operating theatre | 136 391 | i. Scrub sink, collapsible a |  | 2
|  | ii. Stethoscope a |  | 2
|  | iii. Laryngoscope with selection of adult and paediatric blades a |  | 1
|  | iv. Bag valve mask with PEEP valve for hospital use a |  | 1
|  | v. Anaesthetic machine, lightweight, for field use a |  | 1
|  | vi. Patient monitor – combined function: electrocardiogram, pulse, respiratory rate; pulse-oximeter; blood pressure; defibrillator; capnography a |  | 1
|  | vii. Resuscitation box, lightweight, for field use a |  | 1
|  | viii. Dual channel infusion pump a |  | 1
|  | ix. Syringe driver – multiple syringe size a |  | 2
|  | x. Intraosseous drill a |  | 1
|  | xi. Intravenous fluid pressure cuff – 500 ml a |  | 2
|  | xii. Intravenous fluid pressure cuff – 1,000 ml a |  | 2
|  | xiii. Intravenous fluid warmer (disposable type) a |  | 1
|  | xiv. Suction unit for body fluids – operation theatre a |  | 1
|  | xv. Diathermy machine a |  | 1
|  | xvi. Surgical tourniquet – bilateral, with pressure infuser a |  | 1
|  | xvii. Field operating table – collapsible, with 2 integral intravenous poles, instrument tray, arm rests and integral operating theatre light a |  | 1
|  | xviii. Autoclave, lightweight, for field use a |  | 1
|  | xix. Oxygen cylinder (680 l at 2,200 psi) with regulator a |  | 2
|  | xx. Cut down set a |  | 2
|  | xxi. Multiple external fixation kit a |  | 4
|  | xxii. Set, basic surgery, instruments (ICRC) a,d |  | Quantity to support up to 6 operations per day
xxiii. Set, vascular, complimentary, instruments (ICRC) a,d
xxiv. Set, basic bone surgery, complementary, instruments (ICRC) a,d
xxv. Set, laparotomy (ICRC) a,d
xxvi. Set, craniotomy, complementary, instruments (ICRC) a,d
xxvii. Set, amputation, instruments (ICRC) a,d
|  | xxviii. Head torch, battery operated; 1,000 lumens a |  | 6
|  | xxix. Endotracheal tubes and laryngeal masks: selection of adult and paediatric sizes – disposable c |  | Up to 28 intubations in 7 days
|  | xxx. Drugs for anaesthesia care c |  | 7 days' supply, up to 28 surgical cases
xxxi. Consumables for intravenous infusers, syringe pumps, intraosseous devices, blood warmers, etc. c
C. Holding area | 155 248 | i. Stethoscope a |  | 2
|  | ii. Combined ophthalmoscope and otoscope a |  | 1
|  | iii. Thermometer, tympanic, battery-powered a |  | 1
|  | iv. Laryngoscope with selection of adult and paediatric blades a |  | 1
|  | v. Bag valve mask with PEEP valve for hospital use a |  | 1
|  | vi. Suction unit, lightweight with rechargeable battery a |  | 2
|  | vii. Field hospital bed – lightweight, collapsible – intensive care a |  | 2
|  | viii. Field hospital bed – lightweight, collapsible – general use a |  | 2
|  | ix. Resuscitation box, lightweight, for field use a |  | 1
|  | x. Patient monitor – combined function: electrocardiogram, pulse, respiratory rate; pulse oximeter; blood pressure; defibrillator; capnography a |  | 2
|  | xi. Dual channel infusion pump a |  | 2
|  | xii. Syringe driver – multiple syringe size a |  | 2
|  | xiii. Transport ventilator, lightweight, with wave form display for field use with extended battery life (< 8 hours) a |  | 2
|  | xiv. Multifunctional handheld blood analyser: haematology and biochemistry a |  | 1
|  | xv. Portable oxygen generation system, not less than 30 litres per minute, with cylinder refilling capability a |  | 1
|  | xvi. Oxygen cylinder (680 l at 2,200 psi) with regulator a |  | 2
|  | xvii. Head torch, battery operated; 1,000 lumens a |  | 4
|  | xviii. Endotracheal tubes and laryngeal masks: selection of adult and paediatric sizes – disposable c |  | Up to 28 intubations in 7 days
|  | xix. Drugs for resuscitation (including narcotics) and analgesia Consumables for intravenous infusers, syringe pumps, intraosseous devices, blood warmers, etc. c |  | 7 days1 suply, up to 28 surgical cases
D. Infrastructure | 91 000 | i. Furniture c |  | Adequate
|  | ii. Stationery/documentation c |  | Adequate
|  | iii. Computer/printer c |  | 1
|  | iv. VHF/UHF radio c |  | 1
|  | v. Soft shelter, lightweight, for rapid assembly, medium (approx. 4 x 6.5 m) a |  | 3
|  | vi. Soft shelter, lightweight, for rapid assembly, small (approx. 4 x 4 m) a |  | 1
|  | vii. Generator 15 kVA – lightweight, for field use a |  | 1
|  | viii. Power distribution and lighting set a |  | 1
|  | ix. Environmental control system a |  | 1
|  | x. Stackable equipment storage boxes, medium (approx. 1 x 0.45 x 0.45 m) a |  | 10
|  | xi. Stackable equipment storage boxes, small (approx. 0.5 x 0.45 x 0.45 m) a |  | 15
|  | xii. Portable water storage c |  | 48 hours’ supply
|  | xiii. Portable fuel storage c |  | 49 hours’ supply
|  | xiv. Food storage and water heating for meals ready to eat or combat rations c |  | 7 days’ supply for up to 16 personnel
|  | xx. Tentage with field beds for staff accommodation c |  | Adequate for 16 personnel
E. Waste disposal |  | Waste collection, treatment/disposal a,e |  | 1
F. Helicopter landing site kit |  | Helicopter landing site kit a |  | 1 set
Total | 593 086
Note:
Abbreviation: ICRC, International Committee of the Red Cross.
a Reimbursed under major equipment.
b International Atomic Energy Agency Safety Standards Series No. SSG-46 (Radiation protection and safety in medical uses of ionizing radiation) are to be applied.
c Reimbursed under self-sustainment.
d Instruments to comply with International Committee of the Red Cross minimum set.
e To be negotiated separately as a special case, in accordance with the Environmental Policy for United Nations Field Missions, the Waste Management Policy for United Nations Field Missions and the United Nations Environment Programme Compendium of Technologies for Treatment/Destruction of Health-Care Waste”.

## 7. Field Medical Assistance Kit
2023 Working Group on Contingent-Owned Equipment
National Cost Data for Medical Equipment - Light Mobile Surgical Module
Using 2021 as Base Year
Member State: |  | ENTER MEMBER STATE HERE
Facility | COE Manual GFMV (US$) | Item | NATIONAL COST (in US$) |  |  | REMARKS
|  |  | UNIT PRICE | QTY | AMOUNT
| (a) |  | (b) |  | (c)
Field trauma bag | 35 | Trauma bag/backpack |  | 1
Airway and respiration | 215 | Nasopharyngeal airway, 28 Fa |  | 2
|  | Nasopharyngeal airway, 32 Fa |  | 2
|  | Supraglottic airway, size 4, colour codeda |  | 2
|  | Supraglottic airway, size 3, colour codeda |  | 2
|  | 3.25 inch 10 gauge intravenous catheter/pneumothorax needle decompressora |  | 4
|  | Chest seals (1 pack of 2) hydrogel occlusive dressing designed to treat penetrating chest wound and secure other wound dressingsa |  | 4
|  | Paediatric bag valve mask |  | 5
|  | Adult face mask for use with paediatric bag valve mask |  | 1
|  | CPR pocket mask, single-use |  | 2
|  | Manual bulb type suction device with removable reservoir |  | 1
Vascular access equipment | 680 | Intravenous Administration Set 15 Drops/mL with luer lock medication porta |  | 4
|  | Sharps Container 50-100cc |  | 1
|  | 15G needle with “talon” manual introducer for intraosseous fluid infusion (EZ-IO) |  | 2
|  | Intravenous solution, 0.9% sodium chloride, 250cc (in bag form)a |  | 2
|  | Intravenous solution, 3% sodium chloride (hypertonic), 250cc (in bag form)a |  | 2
|  | Intravenous solution, 0.9% sodium chloride, 10cc (plastic or equivalent ampules)a |  | 2
|  | Intravenous solution, 0.9% sodium chloride, 250cc (in bottle form)a |  | 1
|  | Medical adhesive tape, hypoallergenic, 1-inch widtha |  | 4
|  | Medical adhesive tape, hypoallergenic, 3-inch widtha |  | 2
|  | 60cc syringe with luer locka |  | 1
|  | 10cc syringe with luer locka |  | 2
|  | 5cc syringe with needle with luer locka |  | 2
|  | Hypodermic needle 22 g x 1.5 inchesa |  | 2
Haemorrhage control | 612 | Haemostatic application tourniquet |  | 8
|  | Pelvic binder/junctional tourniquet |  | 1
|  | Haemostatic combat gauze (3 inches x 4 yards, Z-fold)a |  | 10
|  | Vacuum-sealed sterile conforming gauze |  | 10
Dressing materials | 64 | Emergency pressure bandage, vacuum-sealed |  | 10
|  | Sterile gauze, 4 inches x 4 yardsa |  | 20
|  | Triangular bandage |  | 4
|  | Gauze elastic bandage |  | 4
|  | Water-Jel burn dressings, 4 x 4 inchesa |  | 2
Immobilization and transport | 207 | Slishman traction splint type or equivalent |  | 1
|  | SAM type or equivalent splint, about 26 inchesa |  | 2
|  | First aid thermal blanket |  | 1
|  | KED type or equivalent extrication device |  | 1
|  | Flexible “blanket” stretcher with reinforced carry handles |  | 1
Diagnostics | 30 | Portable pulse oximeter |  | 1
|  | Manual blood pressure cuff |  | 1
Medication | 275 | Tactical combat casualty care card |  | 5
|  | Ziploc type sandwich bags (1 quart)a |  | 5
|  | 3 m x 1 inch nylon webbing loop (i.e. for casualty movement)a |  | 1
|  | Smoke (for helicopter landing site marking)b |  | 1
|  | Orange panel (for helicopter landing site marking) |  | 1
|  | Mirror (for helicopter landing site marking) |  | 1
|  | Flashlight (for helicopter landing site marking) |  | 1
|  | Helicopter landing zone marking (for helicopter landing site marking) |  | 1
|  | Multipurpose hand soap, individual use, bottle pack |  | 1
|  | Gloves, examination, nitrile, non-sterile, disposable, size M, L or XL (box of 50 pairs) |  | 1
|  | Rolls of coloured plastic tape (red, yellow, green, black), set with one of each colour |  | 1
|  | 2-inch cloth medical tape/rolla |  | 3
Miscellaneous | 118 | Disposable coveralls (clothing) |  | 1
|  | Hypothermia Prevention and Management Kita |  | 1
|  | Alcohol-based hand sanitizer |  | 3
|  | Paramedic trauma shears |  | 2
|  | Headlamp |  | 1
|  | Infrared reflective “MED” patch (2 x 3 inches)a |  | 1
|  | Glow sticks |  | 4
|  | Protective goggles |  | 1
|  | N95 face masks |  | 4
TOTAL: | 2236
Notes:
1. Items are reimbursed under major equipment.
2. Replenishing used and expired items within first aid kits is the responsibility of the troop/police contributing country.
Abbreviation: CPR, cardiopulmonary resuscitation.
a Minor size and brand variations are allowed as long as the item serves the intended function.
b This item is recommended but not compulsory

## 8. Miscellaneous
2023 Working Group on Contingent-Owned Equipment
National Cost Data for Miscellaneous Medical Equipment
Using 2021 as Base Year
| Member State: |  | ENTER MEMBER STATE HERE
Laboratory-only facility
| FACILITY | GFMV (US$) | ITEM | NATIONAL COST (in US$) |  |  | REMARKS
|  |  |  | UNIT PRICE | QTY | AMOUNT
|  | (a) |  | (b) |  | (c)
| Laboratory |  | i. Digital haenmatology analysera |  | 1
|  |  | ii Digital biochemistry analysera |  | 1
|  |  | iii. Kits for HIV and other relevant testsb |  | 5 kits each
|  |  | iv. Microscopea |  | 2
|  |  | v. Centrifugea |  | 1
vi. Urinalysis kitb
|  |  | vii. Incubatora |  | 1
viii. Supplies (tubes, reagents, etc.)b
|  |  | ix. Glucometera |  | 1
|  |  | x. Refrigeratora |  | 1
|  |  | xi. Freezera |  | 1
|  |  | xii. Cardiac troponina |  | 1 set (10 tests)
| Total | 31101
| a | Reimbursed under Major Equipment
| b | Reimbursed under self-sustainment.
Dental-only facility
| FACILITY | GFMV (US$) | ITEM | NATIONAL COST (in US$) |  |  | REMARKS
|  |  |  | UNIT PRICE | QTY | AMOUNT
|  | (a) |  | (b) |  | (c)
| Dental services: consultation, treatment and X-ray |  | i. Dental chair, electricala |  | 1
|  |  | ii. Equipment for treatmenta |  | Adequate for 5‑10 patients per day
Extractiona
Fillinga
Other basic treatmenta
|  |  | iii. Drilling unita |  | 1
|  |  | iv. Furnitureb |  | Adequate
|  |  | v. Digital X-ray equipmenta |  | 1 set
|  |  | vi. Protective equipmentac |  | 2 sets
|  |  | vii. Dental sterilizera |  | 1
| Total | 161564
| a | Reimbursed under Major Equipment
| b | Reimbursed under self-sustainment.
| c | International Atomic Energy Agency Safety Standards Series No. SSG-46 (Radiation protection and safety in medical uses of ionizing radiation) are to be applied
Aeromedical evacuation module
| FACILITY | GFMV (US$) | ITEM | NATIONAL COST (in US$) |  |  | REMARKS
|  |  |  | UNIT PRICE | QTY | AMOUNT
|  | (a) |  | (b) |  | (c)
| Aero - Medical Evacuation Module |  | Ventilatora |  | 2
|  |  | Portable defibrillator integrated in the multiparameter monitora |  | 2
|  |  | Intubation equipment set (both supraglotic and infraglotic)a |  | 2 sets
|  |  | Nasogastric tubes seta |  | 2 sets
|  |  | Portable electric suction equipment with lithium batterya |  | 2
|  |  | Spinal boards and vaccum mattresses for each patienta |  | 2
|  |  | Stretchers (easy-glide type) that lock into the base of an aircraft (can be configured for basic to advanced life support)a |  | 2
|  |  | Scoop stretchersa |  | 2
|  |  | Head blocksa |  | 2
|  |  | Neck bracesa |  | 2
|  |  | Chest drrain kit seta |  | 2 sets
|  |  | Complete vaccum splint set for limbs and bodya |  | 2 sets
|  |  | Spider harness (Straps for securing patient)a |  | 2
|  |  | Vaccum mattress with harnessa |  | 6
|  |  | Ambu - bags (resuscitation bags and masks)a |  | 2 sets
|  |  | Glucometer (dry chemical)a |  | 2
|  |  | Portable haemoglobin metera |  | 2
|  |  | Oxygen deliver systema |  | 4
|  |  | Flexible LED lightinga |  | 4
|  |  | Infusion pump, portable ramp of 4 IV electric syringes per intubated-sedated patient, with lithium batterya |  | 2
|  |  | Portable multiparameter monitora |  | 2
|  |  | Emergency bag, doctor/nurse/paramedica |  | 6
|  |  | Full medical kit (all medications, plasma expanders)b |  | Adequte
|  |  | Portable storage for medication and disposablesa |  | 2
| Total | 96041
| a | Reimbursed under Major Equipment
| b | Reimbursed under self-sustainment.
Staffing: the AME team should consist of two sub-teams, each consisting of at least one physician and two nurses / paramedics specialised or trained in Aero-Medical evacuation.
Forward surgery module
| FACILITY | GFMV (US$) | ITEM | NATIONAL COST (in US$) |  |  | REMARKS
|  |  |  | UNIT PRICE | QTY | AMOUNT
|  | (a) |  | (b) |  | (c)
| Forward Surgery Module |  | Operating Table |  | 1
|  |  | Operating Theatre Lamps (portable) |  | 2
|  |  | Autoclave Sterilizer (one step 10-15I) with basket |  | 1
|  |  | Anaesthesia Machine |  | 1
|  |  | Oxygen and Anaesthesia Gases |  | Essential
|  |  | Diathermy Machine |  | 1
|  |  | Suction Unit for body fluids |  | Adequate
|  |  | Disinfection Equipment |  | 1
|  |  | Resuscitation/monitoring equipment trolley w/drugs |  | 1
|  |  | Defibrillator |  | 1
|  |  | Ventilator |  | 1
|  |  | Intubation Sets |  | 1 set
|  |  | Infusion Pump |  | 1
|  |  | Pulse Oximeter |  | 1
|  |  | Oxgyen Cylinders |  | 2
|  |  | Patient Transport/Transfer Trolley |  | 1
|  |  | Surgical Consumables |  | To support 2 operations/day
|  |  | Appendicectomy and General Purpose Sets |  | 1 set
|  |  | Thoracotomy Set |  | 1 set
|  |  | Wound Exploration Set |  | 1 set
|  |  | Alligator nasal forceps, serrated jaws 5 ½’’ |  | 1
|  |  | Cylinder for presentation of sterile forceps D=4cm |  | 1
|  |  | Eye, lancet for foreign bodies |  | 1
|  |  | Eye, magnet |  | 1
|  |  | Laryngeal mirrors small |  | 1
|  |  | Laryngeal mirrors, large |  | 1
|  |  | Laryngeal mirrors, medium |  | 1
|  |  | Nasal speculae 5 ¾’’ large |  | 1
|  |  | Nasal speculae 5 ¾’’ medium |  | 1
|  |  | Nasal speculae 5 ¾’’ small |  | 1
|  |  | Needle holder 5’’, Mayo Hegar |  | 1
|  |  | Nipper, 5 ½’’, spring |  | 1
|  |  | Retractor, Alm, 1/8’’ prongs |  | 1
|  |  | Ring cutter |  | 1
|  |  | Scissors, bandage 7 ¼’’ |  | 1
| Total | 162342
Staffing: The Forward Surgery team should consist of one general surgeon, one anesthetist and three nurses.
Gynaecology module
| Facility | GFMV (US$) | Item | Quantity | GFMV US$ | National Cost (in US $)
| Gynaecology module |  | i. Gynaecological chaira | 1 | 2872
|  |  | ii. Gynaecological equipment seta | 1 set | 4030
|  |  | iii. Colposcopea | 1 | 4030
| Total | 10932 | 10932
| a | Reimbursed under Major Equipment
Orthopaedic module
| Facility | GFMV (US$) | Item | Quantity | GFMV US$ | National Cost (in US $)
| Orthopaedic module |  | i. Basic orthopaedic instrument seta | 1 set | 3739
|  |  | ii. Mobile C-arm fluoroscpoea | 1 | 40302
|  |  | iii. Orthopaedic traction kita | 2 | 4307
|  | 48348 | 48348
| a | Reimbursed under Major Equipment
Physiotherapy module
| Facility | GFMV (US$) | Item | Quantity | GFMV (US$) | National Cost (in US $)
|  |  | i. Sonotherapya | 1 | 2100
| Physiotherapy module |  | ii. Neurotensa | 1 | 2200
|  |  | iii. Magnetotherapya | 1 | 3200
|  |  | iv. Shortwave (high frequency)a | 1 | 3600
|  |  | v. Stationary bike lumber supporta | 1 | 2200
|  | 13300 | 13300
| a | Reimbursed under Major Equipment
Fee for service schedule
|  | Code | Type of Services* | COE Manual | National Cost (in US $)
|  | A | General practitioner | 31.5
|  | B | Specialist on referral | 42
|  | C | Nurse (for medical procedures) | 21
|  | D | Vaccination/medication/drugs | Actual Cost
|  | E | X-ray (referral, image only) | 26.25
|  | F | X-ray with contrast (Referral, image only) | 68.25
|  | G | Lab (Referral, tests only) | 26.25
|  | H | Dental consultation, emergency only (includes dental X-rays) | 68.25
|  | I | Hospital bed per 24h | 84
|  | J | UN personnel entry examination (inclusive tests and X ray for pre and post deployment) | 131.25
|  | K | Surgery, minor (local anaesthesia) | 525
|  | L | Surgery, major (general, regional anaesthesia) | 1102.5
|  | M | Physiotherapy (referral specialist) | 15
Notes:
1. The fees above include consumables utilized during the consultation and resultant medication dispensed. In general, the quantity of medication provided to out-patients receiving care under a Fee-For-Service arrangement should not exceed five (5) days of supply.
2. Labs or X-ray Services rendered are to be billed separately (with the exception of dental X-rays and United Nations personnel entry examinations).
3. There is to be no patient co-payment charged. The troop/police contributor medical facility bills the mission for the full amount and is reimbursed accordingly.
4. Actual vaccination cost is the cost the medical facility paid to obtain the vaccine stock.
5. Local recruited staff are exempt from the fee-for-servie model for surgery in all emergency cases.

## 9. Pharmaceuticals
2023 Working Group on Contingent-Owned Equipment
National Cost Data for Pharmaceutical usage
Using 2021 as Base Year
Member State: | ENTER MEMBER STATE HERE
CLASS | EXAMPLES | QUANTITY (DDD)a | COST (US$) | COMMENTS
| (a) | (b) | (c)
Gastro-Intestinal Disorders | Aluminum + Mg Hydroxide Tabs
Gaviscon Tabs
Loperamide 2mg
Magnesium Hydroxide Liquid
Ranitidine/Cimetidine Tabs
Other
Total
Intravenous Fluid | Plasma expander
Ringer's / NaCl
Sodium Bicarbonate
Other
Total
Dermatological Preparations | Cortisone group I
Cortisone group II / III
Micronazole / Clotrimazole
Other
Total
Eye and Ear Preparations | Chloramphenicol Eye Oint
Chloremphenicol Eye Drops
Gentamycin Drops
Tetracaine Eye Drops
Other
Total
Antiseptics + Disinfectants | Chlorhexidine 20%
Poviodine Iodine Liquid
Poviodine Iodine Swabs
Other
Total
Antibiotics (Oral) | Ampicillin 500mg
Amoxicillin 500mg
Ciprofloxacine 500mg
Cloxacillin 500mg
Clotrimazole (Bactrim)
| Doxycycline 100mg |  |  | Excluding use as Malaria Prophylaxis
Erythromycin 250mg
Metronidazole 250mg
Phenoxymethyl Pen (Pen V)
Other
Total
Antibiotics (Injectable) | Ampicillin 500mg
Benzylpenicillin 5mili IU (Pen G)
Cloxacillin 2Gm
Chloramphenicol 1Gm
Ceftriaxone 2Gm
Ciprofloxacine 2mg/ml
Metronidazole 5mg/ml
Other
Total
Non Steroidal Anti Inflammatory and Pain Medication | Acetylsalicylic Acid 500mg
Diclofenac
Ibuprofen 400mg
Paracetamol 500mg
Paracetamol + Codeine
Other
Total
Psychotropics | Chlorpromazine 25mg
Diazepam
Haloperidol 1mg
Other
Total
Anti Malarial Drugs | Quinine
Artemisine
Other
Total
Miscellaneous | Cough Syrups
Insecticides
Nose Drops
Permithrin Spray/Liquid (for mosquito netting/clothing)
Repellants (DEET)
Sunscreen >15 SPF
Total
Other
Total
Notes
a | DDD (Defined Daily Doses) or Quantity depending on national practice
b | If individual breakdown unavailable, please indicate total usage by Class